## detector 2 plateau
HyperTerminal Scalar Conversions & Calculation Spreadsheet
This spreadsheet will convert the Hyperterminal hex values to decimal and subtract final - initial readings*
*Users may need to access the hex-to-decimal add-in under the tools menu to enable the conversion formulas
** S0 and S1are singles counts and are not used for plateauing. S4, the coincidence count is used for plateauing
Ref Ch 0 = ___ V
Test Ch 1 Vop | S0 i | S1 i | S4 i | S0 f | S1 f | S4 f
0.65
0.75
0.85
0.95
1.05
1.15
1.25
1.35
1.45
1.55
1.65
1.75
Calculations
Vop | DS0 | DS1 | DS4
0.65 | 0 | 0 | 0
0.75 | 0 | 0 | 0
0.85 | 0 | 0 | 0
0.95 | 0 | 0 | 0
1.05 | 0 | 0 | 0
1.15 | 0 | 0 | 0
1.25 | 0 | 0 | 0
1.35 | 0 | 0 | 0
1.45 | 0 | 0 | 0
1.55 | 0 | 0 | 0
1.65 | 0 | 0 | 0
1.75 | 0 | 0 | 0

## detector 1 plateau
Ref Ch 1 = ___ V
Test Ch 0 Vop | S0 i | S1 i | S4 i | S0 f | S1 f | S4 f
0.65
0.75
0.85
0.95
1.05
1.15
1.25
1.35
1.45
1.55
1.65
1.75
Calculations
Vop | DS0 | DS1 | DS4
0.65 | 0 | 0 | 0
0.75 | 0 | 0 | 0
0.85 | 0 | 0 | 0
0.95 | 0 | 0 | 0
1.05 | 0 | 0 | 0
1.15 | 0 | 0 | 0
1.25 | 0 | 0 | 0
1.35 | 0 | 0 | 0
1.45 | 0 | 0 | 0
1.55 | 0 | 0 | 0
1.65 | 0 | 0 | 0
1.75 | 0 | 0 | 0

## detector 3 plateau
Ref Ch 1 = ___ V
Test Ch 2 Vop | S1 i | S2 i | S4 i | S1 f | S2 f | S4 f
0.65
0.75
0.85
0.95
1.05
1.15
1.25
1.35
1.45
1.55
1.65
1.75
Calculations
Vop | DS1 | DS2 | DS4
0.65 | 0 | 0 | 0
0.75 | 0 | 0 | 0
0.85 | 0 | 0 | 0
0.95 | 0 | 0 | 0
1.05 | 0 | 0 | 0
1.15 | 0 | 0 | 0
1.25 | 0 | 0 | 0
1.35 | 0 | 0 | 0
1.45 | 0 | 0 | 0
1.55 | 0 | 0 | 0
1.65 | 0 | 0 | 0
1.75 | 0 | 0 | 0

## detector 4 plateau
Ref Ch 2 = ___ V
Test Ch 3 Vop | S2 i | S3 i | S4 i | S2 f | S3 f | S4 f
0.65
0.75
0.85
0.95
1.05
1.15
1.25
1.35
1.45
1.55
1.65
1.75
Calculations
Vop | S2 i: DS2; S3 i: DS3; S4 i: DS4
0.65 | S2 i: 0; S3 i: 0; S4 i: 0
0.75 | S2 i: 0; S3 i: 0; S4 i: 0
0.85 | S2 i: 0; S3 i: 0; S4 i: 0
0.95 | S2 i: 0; S3 i: 0; S4 i: 0
1.05 | S2 i: 0; S3 i: 0; S4 i: 0
1.15 | S2 i: 0; S3 i: 0; S4 i: 0
1.25 | S2 i: 0; S3 i: 0; S4 i: 0
1.35 | S2 i: 0; S3 i: 0; S4 i: 0
1.45 | S2 i: 0; S3 i: 0; S4 i: 0
1.55 | S2 i: 0; S3 i: 0; S4 i: 0
1.65 | S2 i: 0; S3 i: 0; S4 i: 0
1.75 | S2 i: 0; S3 i: 0; S4 i: 0