Plateau Cookbook: Mar 2007

Back to plateauing.  My suggestion:

0) set gate and window:

WT 01 00

WT 02 02

WC 02 1F

WC 03 00

SA 1

1) make up generic data tables:

test point

DAQ#

date

time interval  (hopefully, make this the same to remove another calc)(more later)

channel

channel threshold level

voltage level (independent var)

coincidence setting (1, 2, 3, 4)

single start count (hex)

coincidence start count (hex)

single start count (dec)

coincidence start count (dec)

single end count (hex)

coincidence end count (hex)

single end count (dec)

coincidence end count (dec)

total single counts (difference: end - start) (dec) (dependent var)

total coincidence counts (difference: end - start) (dec) (dependent var)

2) make up generic plotting sheet:

singe/coincidence counts

voltage level

3) stack two counters: one as the reference (trigger), second as the victim to be plateaued

set the reference at a reasonable voltage level, maybe .900v

4) via 'hyperterm' interface, set the coincidence on the DAQ to 2fold:

WC 00 1F

might want to save so the reset doesn't wipe out the setting: SA 1

5) set a "status" report for a fast turn around: ST 2 1 --> one minute, see H2 for more details

this with return the singles and coincidence counts for a one minute period so you don't have to keep track of the time.

6)  on the plateau counter, measure and set the voltage low: .600v

record counts for one minute period, record on data sheet

7) start stepping up in voltage, maybe in .100v increments, recording counts as you go.  you'll quickly get the idea.

fill in the gaps where transients.

8) plot the counts vs voltage; should start seeing a "plateau"

do same to all four counters.  don't spend hours and hours at this.  bang through it.

9) this gets trickier: choosing the voltage level

want to be in the "flat" on the plateau curve so a voltage variation doesn't radically alter the rate, but....

want the counters "talking" at approx the same rate, so...

set each counter at  mid point on each curve, then...

10) set up the counter ready for data taking, and start a run.

continue with a "status" report, can widen time interval if you choose, say:  ST 2 3 (3 mins),

now look at the singles rate in each channel,

adjust the voltage in the counters so each is throwing about the same number of counts, but stay on the plateau curve if you can.

11) good, now take a long run, hopefully over a 24 hr period on GMT clock ('cause the data gets broken at 0000GMT during an upload) (and you want  a solid days worth for the next step),

may need to reset the gate and window depending on the type of study planned: flux, shower

12) upload data to the cosmic e-Lab portal

run PERFORMANCE study on that 24hr of data.

admire your beautiful results.

13) start asking questions

(what happens to my PERFORMANCE plot if I change threshold levels, comes to mind?)